## QQ plot
Ambler and Jones of the National Bureau of Standards (now NIST) made 100 measurements of the weight of a standard artifact, nominally 10 grams, over a two year period.
The numbers shows here give the number of micrograms below 10g for each measurement.
|  |  | correlation coefficient = | 0.90589 |  | Approximate uniform order statistic medians:
n = | 100 |  |  |  |  | Uk = 1 - Un for k = 1
mean = | 404.59 |  |  |  |  | Uk = (k - 0.3175)/(n + 0.365) for k = 2, 3, ..., n-1
StdDev = | 6.4668 |  |  |  |  | Uk = 0.5(1/n) for k = n
|  |  | Inverse | Expected | Slope=1 | Filliben, J. J. (February 1975), The Probability Plot Correlation Coefficient Test for Normality, Technometrics, pp. 111-117.
Trial (k) | Result | Uk | CDF(Uk) | Result | Line
1 | 375 | 0.0069075 | -2.462 | 388.6684 | 375 | NORM.S.INV function
2 | 392 | 0.016764 | -2.1257 | 390.8434 | 392 | Returns the inverse of the standard normal cumulative distribution. | Excel Histogram Function
3 | 393 | 0.026727 | -1.9312 | 392.101 | 393 | The distribution has a mean of zero and a standard deviation of one. | Bin | Frequency
4 | 397 | 0.036691 | -1.7904 | 393.0115 | 397 |  | 375 | 1
5 | 398 | 0.046655 | -1.6782 | 393.7374 | 398 |  | 381.2 | 0
6 | 398 | 0.056618 | -1.5838 | 394.3477 | 398 |  | 387.4 | 0
7 | 399 | 0.066582 | -1.5017 | 394.8785 | 399 |  | 393.6 | 2
8 | 399 | 0.076546 | -1.4287 | 395.3508 | 399 |  | 399.8 | 10
9 | 399 | 0.086509 | -1.3626 | 395.7785 | 399 |  | 406 | 56
10 | 399 | 0.096473 | -1.3019 | 396.1707 | 399 |  | 412.2 | 26
11 | 399 | 0.10644 | -1.2457 | 396.5342 | 399 |  | 418.4 | 3
12 | 399 | 0.1164 | -1.1932 | 396.8739 | 399 |  | 424.6 | 1
13 | 399 | 0.12636 | -1.1437 | 397.1935 | 399 |  | 430.8 | 0
14 | 400 | 0.13633 | -1.097 | 397.4961 | 400 |  | More | 1
15 | 400 | 0.14629 | -1.0525 | 397.7838 | 400
16 | 400 | 0.15625 | -1.01 | 398.0587 | 400
17 | 400 | 0.16622 | -0.96922 | 398.3222 | 400
18 | 401 | 0.17618 | -0.93001 | 398.5757 | 401
19 | 401 | 0.18615 | -0.89219 | 398.8203 | 401
20 | 401 | 0.19611 | -0.8556 | 399.057 | 401
21 | 401 | 0.20607 | -0.82012 | 399.2864 | 401
22 | 401 | 0.21604 | -0.78565 | 399.5093 | 401
23 | 401 | 0.226 | -0.75208 | 399.7264 | 401
24 | 401 | 0.23596 | -0.71935 | 399.9381 | 401
25 | 401 | 0.24593 | -0.68736 | 400.1449 | 401
26 | 401 | 0.25589 | -0.65607 | 400.3473 | 401
27 | 401 | 0.26585 | -0.6254 | 400.5456 | 401
28 | 401 | 0.27582 | -0.59531 | 400.7402 | 401
29 | 401 | 0.28578 | -0.56575 | 400.9314 | 401
30 | 402 | 0.29575 | -0.53668 | 401.1194 | 402
31 | 402 | 0.30571 | -0.50805 | 401.3045 | 402
32 | 402 | 0.31567 | -0.47983 | 401.487 | 402
33 | 402 | 0.32564 | -0.45199 | 401.667 | 402
34 | 402 | 0.3356 | -0.4245 | 401.8448 | 402
35 | 402 | 0.34556 | -0.39733 | 402.0206 | 402
36 | 402 | 0.35553 | -0.37044 | 402.1944 | 402
37 | 402 | 0.36549 | -0.34382 | 402.3666 | 402
38 | 403 | 0.37545 | -0.31744 | 402.5372 | 403
39 | 403 | 0.38542 | -0.29128 | 402.7063 | 403
40 | 403 | 0.39538 | -0.26532 | 402.8742 | 403
41 | 403 | 0.40535 | -0.23953 | 403.041 | 403
42 | 403 | 0.41531 | -0.21391 | 403.2067 | 403
43 | 403 | 0.42527 | -0.18842 | 403.3715 | 403
44 | 404 | 0.43524 | -0.16306 | 403.5355 | 404
45 | 404 | 0.4452 | -0.1378 | 403.6989 | 404
46 | 404 | 0.45516 | -0.11263 | 403.8617 | 404
47 | 404 | 0.46513 | -0.087525 | 404.024 | 404
48 | 404 | 0.47509 | -0.062478 | 404.186 | 404
49 | 404 | 0.48505 | -0.037471 | 404.3477 | 404
50 | 404 | 0.49502 | -0.012488 | 404.5092 | 404
51 | 404 | 0.50498 | 0.012488 | 404.6708 | 404
52 | 404 | 0.51495 | 0.037471 | 404.8323 | 404
53 | 405 | 0.52491 | 0.062478 | 404.994 | 405
54 | 405 | 0.53487 | 0.087525 | 405.156 | 405
55 | 405 | 0.54484 | 0.11263 | 405.3183 | 405
56 | 405 | 0.5548 | 0.1378 | 405.4811 | 405
57 | 405 | 0.56476 | 0.16306 | 405.6445 | 405
58 | 406 | 0.57473 | 0.18842 | 405.8085 | 406
59 | 406 | 0.58469 | 0.21391 | 405.9733 | 406
60 | 406 | 0.59465 | 0.23953 | 406.139 | 406
61 | 406 | 0.60462 | 0.26532 | 406.3058 | 406
62 | 406 | 0.61458 | 0.29128 | 406.4737 | 406
63 | 406 | 0.62455 | 0.31744 | 406.6428 | 406
64 | 406 | 0.63451 | 0.34382 | 406.8134 | 406
65 | 406 | 0.64447 | 0.37044 | 406.9856 | 406
66 | 406 | 0.65444 | 0.39733 | 407.1594 | 406
67 | 406 | 0.6644 | 0.4245 | 407.3352 | 406
68 | 406 | 0.67436 | 0.45199 | 407.513 | 406
69 | 406 | 0.68433 | 0.47983 | 407.693 | 406
70 | 407 | 0.69429 | 0.50805 | 407.8755 | 407
71 | 407 | 0.70425 | 0.53668 | 408.0606 | 407
72 | 407 | 0.71422 | 0.56575 | 408.2486 | 407
73 | 407 | 0.72418 | 0.59531 | 408.4398 | 407
74 | 407 | 0.73415 | 0.6254 | 408.6344 | 407
75 | 407 | 0.74411 | 0.65607 | 408.8327 | 407
76 | 407 | 0.75407 | 0.68736 | 409.0351 | 407
77 | 407 | 0.76404 | 0.71935 | 409.2419 | 407
78 | 408 | 0.774 | 0.75208 | 409.4536 | 408
79 | 408 | 0.78396 | 0.78565 | 409.6707 | 408
80 | 408 | 0.79393 | 0.82012 | 409.8936 | 408
81 | 408 | 0.80389 | 0.8556 | 410.123 | 408
82 | 408 | 0.81385 | 0.89219 | 410.3597 | 408
83 | 409 | 0.82382 | 0.93001 | 410.6043 | 409
84 | 409 | 0.83378 | 0.96922 | 410.8578 | 409
85 | 409 | 0.84375 | 1.01 | 411.1213 | 409
86 | 409 | 0.85371 | 1.0525 | 411.3962 | 409
87 | 409 | 0.86367 | 1.097 | 411.6839 | 409
88 | 410 | 0.87364 | 1.1437 | 411.9865 | 410
89 | 410 | 0.8836 | 1.1932 | 412.3061 | 410
90 | 410 | 0.89356 | 1.2457 | 412.6458 | 410
91 | 410 | 0.90353 | 1.3019 | 413.0093 | 410
92 | 411 | 0.91349 | 1.3626 | 413.4015 | 411
93 | 412 | 0.92345 | 1.4287 | 413.8292 | 412
94 | 412 | 0.93342 | 1.5017 | 414.3015 | 412
95 | 412 | 0.94338 | 1.5838 | 414.8323 | 412
96 | 413 | 0.95335 | 1.6782 | 415.4426 | 413
97 | 415 | 0.96331 | 1.7904 | 416.1685 | 415
98 | 418 | 0.97327 | 1.9312 | 417.079 | 418
99 | 423 | 0.98324 | 2.1257 | 418.3366 | 423
100 | 437 | 0.99309 | 2.462 | 420.5116 | 437

## Moments
Ambler and Jones of the National Bureau of Standards (now NIST) made 100 measurements of the weight of a standard artifact, nominally 10 grams, over a two year period.
The numbers shows here give the number of micrograms below 10g for each measurement. | [8 empty] | Excel Histogram Function
[9 empty] | Bin | Frequency
n = | 100 | [7 empty] | 375 | 1
mean = | 404.59 | [7 empty] | 381.2 | 0
[6 empty] | g1 = | 0.54461 |  | 387.4 | 0
|  | central moment = | 41.4019 | 145.0833 | 21122.4003 | G1 = | 0.55294 |  | 393.6 | 2
Trial | Data | xi-mean | (xi-mean)^2 | (xi-mean)^3 | (xi-mean)^4 | SE(G1) = | 0.24138 | p-value = | 399.8 | 10
1 | 375 | -29.59 | 875.5681 | -25908.0601 | 766619.4977 | z(G1) = | 2.2907 | 0.021978 | 406 | 56
2 | 392 | -12.59 | 158.5081 | -1995.617 | 25124.8178 | g2 = | 9.3226 |  | 412.2 | 26
3 | 393 | -11.59 | 134.3281 | -1556.8627 | 18044.0384 | G2 = | 9.8686 |  | 418.4 | 3
4 | 397 | -7.59 | 57.6081 | -437.2455 | 3318.6932 | SE(G2) = | 0.47833 | p-value = | 424.6 | 1
5 | 398 | -6.59 | 43.4281 | -286.1912 | 1885.9999 | z(G2) = | 20.6313 | 0 | 430.8 | 0
6 | 398 | -6.59 | 43.4281 | -286.1912 | 1885.9999 |  |  |  | More | 1
7 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438 | Excel function: SKEW(array)
8 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438 |  | 0.55294
9 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438 | Excel function: KURT(array)
10 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438 |  | 9.8686
11 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438
12 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438
13 | 399 | -5.59 | 31.2481 | -174.6769 | 976.4438
14 | 400 | -4.59 | 21.0681 | -96.7026 | 443.8648
15 | 400 | -4.59 | 21.0681 | -96.7026 | 443.8648
16 | 400 | -4.59 | 21.0681 | -96.7026 | 443.8648
17 | 400 | -4.59 | 21.0681 | -96.7026 | 443.8648
18 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
19 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
20 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
21 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
22 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
23 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
24 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
25 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
26 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
27 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
28 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
29 | 401 | -3.59 | 12.8881 | -46.2683 | 166.1031
30 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
31 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
32 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
33 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
34 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
35 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
36 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
37 | 402 | -2.59 | 6.7081 | -17.374 | 44.9986
38 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
39 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
40 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
41 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
42 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
43 | 403 | -1.59 | 2.5281 | -4.0197 | 6.3913
44 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
45 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
46 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
47 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
48 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
49 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
50 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
51 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
52 | 404 | -0.59 | 0.3481 | -0.20538 | 0.12117
53 | 405 | 0.41 | 0.1681 | 0.068921 | 0.028258
54 | 405 | 0.41 | 0.1681 | 0.068921 | 0.028258
55 | 405 | 0.41 | 0.1681 | 0.068921 | 0.028258
56 | 405 | 0.41 | 0.1681 | 0.068921 | 0.028258
57 | 405 | 0.41 | 0.1681 | 0.068921 | 0.028258
58 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
59 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
60 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
61 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
62 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
63 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
64 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
65 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
66 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
67 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
68 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
69 | 406 | 1.41 | 1.9881 | 2.8032 | 3.9525
70 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
71 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
72 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
73 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
74 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
75 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
76 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
77 | 407 | 2.41 | 5.8081 | 13.9975 | 33.734
78 | 408 | 3.41 | 11.6281 | 39.6518 | 135.2127
79 | 408 | 3.41 | 11.6281 | 39.6518 | 135.2127
80 | 408 | 3.41 | 11.6281 | 39.6518 | 135.2127
81 | 408 | 3.41 | 11.6281 | 39.6518 | 135.2127
82 | 408 | 3.41 | 11.6281 | 39.6518 | 135.2127
83 | 409 | 4.41 | 19.4481 | 85.7661 | 378.2286
84 | 409 | 4.41 | 19.4481 | 85.7661 | 378.2286
85 | 409 | 4.41 | 19.4481 | 85.7661 | 378.2286
86 | 409 | 4.41 | 19.4481 | 85.7661 | 378.2286
87 | 409 | 4.41 | 19.4481 | 85.7661 | 378.2286
88 | 410 | 5.41 | 29.2681 | 158.3404 | 856.6217
89 | 410 | 5.41 | 29.2681 | 158.3404 | 856.6217
90 | 410 | 5.41 | 29.2681 | 158.3404 | 856.6217
91 | 410 | 5.41 | 29.2681 | 158.3404 | 856.6217
92 | 411 | 6.41 | 41.0881 | 263.3747 | 1688.232
93 | 412 | 7.41 | 54.9081 | 406.869 | 3014.8994
94 | 412 | 7.41 | 54.9081 | 406.869 | 3014.8994
95 | 412 | 7.41 | 54.9081 | 406.869 | 3014.8994
96 | 413 | 8.41 | 70.7281 | 594.8233 | 5002.4641
97 | 415 | 10.41 | 108.3681 | 1128.1119 | 11743.6451
98 | 418 | 13.41 | 179.8281 | 2411.4948 | 32338.1455
99 | 423 | 18.41 | 338.9281 | 6239.6663 | 114872.257
100 | 437 | 32.41 | 1050.4081 | 34043.7265 | 1103357.1765
𝐺_1=√(𝑛(𝑛−1) )/(𝑛−2) 𝑔_1
𝑆𝐸(𝐺_1 )=√(6𝑛(𝑛−1)/(𝑛−2)(𝑛+1)(𝑛+3) )
𝑔_1=𝑚_3/(𝑚_2^(3/2) )=(1/𝑛 ∑_(𝑖=1)^𝑛▒(𝑥−𝑥 ̅ )^3 )/(1/𝑛 ∑_(𝑖=1)^𝑛▒(𝑥−𝑥 ̅ )^2 )^(3/2)
𝑔_2=𝑚_4/(𝑚_2^2 )−3=(1/𝑛 ∑_(𝑖=1)^𝑛▒(𝑥−𝑥 ̅ )^4 )/(1/𝑛 ∑_(𝑖=1)^𝑛▒(𝑥−𝑥 ̅ )^2 )^2 −3
𝐺_2=(𝑛−1)/(𝑛−2)(𝑛−3) [(𝑛+1) 𝑔_2+6]
𝑆𝐸(𝐺_2 )=2 𝑆𝐸(𝐺_1 ) √((𝑛^2−1)/(𝑛−3)(𝑛+5) )

## Outliers
Ambler and Jones of the National Bureau of Standards (now NIST) made 100 measurements of the weight of a standard artifact, nominally 10 grams, over a two year period.
The numbers shows here give the number of micrograms below 10g for each measurement. | [7 empty] | Excel Histogram Function
[8 empty] | Bin | Frequency
n = | 100 | 99 | 99 | 98 | IQR Labeled Outliers: |  |  | 375 | 1
mean = | 404.59 | 404.8889 | 404.2626 | 404.5612 | IQR = | 6 |  | 381.2 | 0
variance = | 41.8201 | 33.2222 | 31.4201 | 22.8261 | upper limit = | 416 |  | 387.4 | 0
SSE = | 4140.19 | 3255.7778 | 3079.1717 | 2214.1327 | lower limit = | 392 |  | 393.6 | 2
Rank | Data | Data - outliers | Data - outliers | Data - outliers | IQR Labeled Far Outliers: |  |  | 399.8 | 10
1 | 375 |  | 375 |  | upper limit = | 425 |  | 406 | 56
2 | 392 | 392 | 392 | 392 | lower limit = | 383 |  | 412.2 | 26
3 | 393 | 393 | 393 | 393 |  |  |  | 418.4 | 3
4 | 397 | 397 | 397 | 397 | Dixon Q-test: |  |  | 424.6 | 1
5 | 398 | 398 | 398 | 398 | Q1 = | 0.27419 | (reject - just barely bigger that Qcrit) | 430.8 | 0
6 | 398 | 398 | 398 | 398 | Q100 = | 0.22581 |  | More | 1
7 | 399 | 399 | 399 | 399 | critical Q = | 0.274 | at a = 0.01
8 | 399 | 399 | 399 | 399
9 | 399 | 399 | 399 | 399 | Grubbs Test (2-sided, one outlier)
10 | 399 | 399 | 399 | 399 | T1 = | 4.5987
11 | 399 | 399 | 399 | 399 | Tn = | 5.037
12 | 399 | 399 | 399 | 399 | Critical T value = | 3.754 | at a = 0.01
13 | 399 | 399 | 399 | 399
14 | 400 | 400 | 400 | 400 | SSE1 Ratio = | 0.78638 | 0.78638
15 | 400 | 400 | 400 | 400 | SSEn Ratio = | 0.74373 | 0.74373
16 | 400 | 400 | 400 | 400 | SSE1,n Ratio = | 0.53479
17 | 400 | 400 | 400 | 400
18 | 401 | 401 | 401 | 401 | Critical SSE1 ratio = | 0.858 | at a = 0.01
19 | 401 | 401 | 401 | 401 | Critical SSE1,n ratio = | 0.791 | at a = 0.01
20 | 401 | 401 | 401 | 401
21 | 401 | 401 | 401 | 401 | Chauvenet's criterion
22 | 401 | 401 | 401 | 401 | alpha = 1/2n = | 0.005
23 | 401 | 401 | 401 | 401 | upper critical value = | 421.2475
24 | 401 | 401 | 401 | 401 | lower critical value = | 387.9325
25 | 401 | 401 | 401 | 401
26 | 401 | 401 | 401 | 401
27 | 401 | 401 | 401 | 401
28 | 401 | 401 | 401 | 401
29 | 401 | 401 | 401 | 401
30 | 402 | 402 | 402 | 402
31 | 402 | 402 | 402 | 402
32 | 402 | 402 | 402 | 402
33 | 402 | 402 | 402 | 402
34 | 402 | 402 | 402 | 402
35 | 402 | 402 | 402 | 402
36 | 402 | 402 | 402 | 402
37 | 402 | 402 | 402 | 402
38 | 403 | 403 | 403 | 403
39 | 403 | 403 | 403 | 403
40 | 403 | 403 | 403 | 403
41 | 403 | 403 | 403 | 403
42 | 403 | 403 | 403 | 403
43 | 403 | 403 | 403 | 403
44 | 404 | 404 | 404 | 404
45 | 404 | 404 | 404 | 404
46 | 404 | 404 | 404 | 404
47 | 404 | 404 | 404 | 404
48 | 404 | 404 | 404 | 404
49 | 404 | 404 | 404 | 404
50 | 404 | 404 | 404 | 404
51 | 404 | 404 | 404 | 404
52 | 404 | 404 | 404 | 404
53 | 405 | 405 | 405 | 405
54 | 405 | 405 | 405 | 405
55 | 405 | 405 | 405 | 405
56 | 405 | 405 | 405 | 405
57 | 405 | 405 | 405 | 405
58 | 406 | 406 | 406 | 406
59 | 406 | 406 | 406 | 406
60 | 406 | 406 | 406 | 406
61 | 406 | 406 | 406 | 406
62 | 406 | 406 | 406 | 406
63 | 406 | 406 | 406 | 406
64 | 406 | 406 | 406 | 406
65 | 406 | 406 | 406 | 406
66 | 406 | 406 | 406 | 406
67 | 406 | 406 | 406 | 406
68 | 406 | 406 | 406 | 406
69 | 406 | 406 | 406 | 406
70 | 407 | 407 | 407 | 407
71 | 407 | 407 | 407 | 407
72 | 407 | 407 | 407 | 407
73 | 407 | 407 | 407 | 407
74 | 407 | 407 | 407 | 407
75 | 407 | 407 | 407 | 407
76 | 407 | 407 | 407 | 407
77 | 407 | 407 | 407 | 407
78 | 408 | 408 | 408 | 408
79 | 408 | 408 | 408 | 408
80 | 408 | 408 | 408 | 408
81 | 408 | 408 | 408 | 408
82 | 408 | 408 | 408 | 408
83 | 409 | 409 | 409 | 409
84 | 409 | 409 | 409 | 409
85 | 409 | 409 | 409 | 409
86 | 409 | 409 | 409 | 409
87 | 409 | 409 | 409 | 409
88 | 410 | 410 | 410 | 410
89 | 410 | 410 | 410 | 410
90 | 410 | 410 | 410 | 410
91 | 410 | 410 | 410 | 410
92 | 411 | 411 | 411 | 411
93 | 412 | 412 | 412 | 412
94 | 412 | 412 | 412 | 412
95 | 412 | 412 | 412 | 412
96 | 413 | 413 | 413 | 413
97 | 415 | 415 | 415 | 415
98 | 418 | 418 | 418 | 418
99 | 423 | 423 | 423 | 423
100 | 437 | 437

## Reference
Reference
https://www.lithoguru.com/scientist/statistics/course.html
https://www.youtube.com/playlist?list=PLM2eE_hI4gSDnF-mEa9mrIYx7GCLQVN89